Novel Cascaded H-Bridge Multilevel Inverter With Harmonics Elimination

ABSTRACT

Multilevel  inverter  is  one  of  the  most  recent  and popular  type  of  advances  in  power  electronics.  It synthesize desired output voltage waveform from several dc sources used a input  for  the  multilevel  inverter. Multilevel converters are  mainly  utilized  to  synthesis  a desired single- or three-phase voltage  waveform. The desired multi-staircase  output  voltage  is  obtained  by  combining several dc voltage sources. Solar cells, fuel cells, batteries and ultra-capacitors are the most common independent sources used.

One important application of multilevel converters is focused on medium and high-power conversion.  Nowadays, there exist three commercial topologies of multilevel voltage source  inverters:  neutral  point  clamped  (NPC),  cascaded  H bridge  (CHB),  and  flying  capacitors  (FCs).  Among  these inverter  topologies,  cascaded  multilevel  inverter  reaches  the higher  output  voltage  and  power  levels  (13.8  kV,  30  MVA) and the higher reliability due to its modular topology.

This  paper  presents  the  two techniques  for  improving  the  quality  of  the  output  voltage  and efficiency.  First,  new  novel  topology  for  multilevel  inverter  is introduced  which  reduces  the  number  of  switches  compared  to other  for  the  same  level  of  output  voltage.  Second, Selective Harmonics Elimination Stepped Waveform (SHESW) method is implemented to eliminate the lower order harmonics. Fundamental  switching  scheme  is  used  to  control  the  power electronics  switches  in  the  inverter.

The proposed topology is suitable for any number of levels. When the levels are increased the  number  of  switches  used  is  reduced  compared  to  the conventional cascaded H-bridge multilevel inverter. This paper is particularly focuses on seven level inverter.  In the propose topology only 7 switches were used.  The harmonic reduction is achieved by selecting appropriate switching angles. It shows hope to reduce initial cost and complexity hence it is apt for industrial applications.  In  this  paper  third  and  fifth  level  harmonics  have been  eliminated.

In this paper Selective Harmonics Elimination technique is used. Third and fifth order harmonics are eliminated by using this technique. The transcendental non-linear equations are solved using the numerical technique called Newton Raphson method

Block diagram for proposed system

DESIGNG SOFTWARE AND TOOLS:

MAT LAB /SIMULATION Software and sim power systems tools are used. Mainly control system tools, power electronics and electrical elements tools are used.