Dual-Buck Half-Bridge Voltage Balancer

ABSTRACT

Micro-dc grid is a novel power system focused on the development of renewable resources. However, two-wire transmitting power mode is generally accepted in a micro-dc grid, which is usually not suitable for the requirements of the input voltage levels of different power converters and loads. In order to meet the requirements, a half-bridge voltage balancer was introduced in a micro-dc grid, which can convert a two-wire mode into a three-wire mode in a micro-dc grid via a neutral line. However, the shoot-through problem existing in bridge-type converters degrades the reliability of the voltage balancer.

In this paper, a dual-buck half-bridge voltage balancer and its control strategy are proposed. This type of voltage balancer can well resolve the shoot-through problem. It can build a neutral line to balance two output voltages for different loads in a micro-dc grid.  The small-signal model of the voltage balancer is derived for designing the control parameters and the current relationships of the inductors; the capacitors and the unbalanced loads are analyzed particularly.

Finally, a prototype, which can deal with 2-kW unbalance ability, is built to verify that the proposed voltage balancer may have a good ability of balancing the voltage by building a neutral line. At last, the simulation results are done to illustrate the proposed voltage balancer having a good ability of balancing output voltage even if under the different input voltage, unbalanced loads, and transiently changing loads.

In this paper, a dual-buck half-bridge voltage balancer is proposed. For meeting the characteristic of the proposed voltage balancer, a control strategy of respectively driving the two bridge legs of the proposed voltage balancer to work for a high efficiency is also presented. In order to select the parameters of filter inductors and capacitors and to design the control system parameters, the relationships of the currents of inductors, the capacitors, and the unbalanced loads are described in detail, and the small-signal model is derived.

Block diagram for proposed system

DESIGNG SOFTWARE AND TOOLS:

MAT LAB /SIMULATION Software and sim power systems tools are used. Mainly control system tools, power electronics and electrical elements tools are used.