Modeling and Simulation of an Asynchronous Generator with ACDCAC Converter Fed RLC Series Circuit in an Isolated Power Generation System

ABSTRACT

This project expounds a simulation model of a self-excited asynchronous generator (SEASG) feeding R L load in conjunction with an AC/DC/AC converter fed RLC series circuit connected at the point of common coupling (PCC).

Self-excited asynchronous generator has emerged as a possible alternative for isolated power generation from renewable energy sources because of its low cost, less maintenance and rugged construction. However, it requires a suitable controller to regulate the voltage due to variation of consumer loads. From the characteristics of voltage generation in a SEASG, it is essential to have a variable capacitance at the machine terminals to maintain constant voltage with variable load.

Simulation model of the proposed system have been developed by using Matlab/Simulink. The result shows that the effect of RLC series circuit when operated at variable frequency affects the generation voltage profile. This reflects that an additional capacitance or inductance effect is possible to inject when the RLC is operated at frequency lower than the resonance frequency or the higher than the resonance frequency. This simulation model validates the injections of capacitance in a SEASG is possible to match the lagging reactive power of the RL load to maintain a constant voltage at the load bus.