POWER QUALITY IMPROVEMENT OF THE CUSTOM POWER DEVICE WITH PROTECTION OF INVERTER FROM SHORT CIRCUIT FAULT

ABSTRACT

This paper presents a new synchronous reference frame (SRF)-based control method to compensate power-quality (PQ) problems through a three-phase four wire unified PQ conditioner (UPQC) under unbalanced and distorted load conditions. UNIFIED POWER-QUALITY (PQ) conditioner (UPQC) systems were widely studied by many researchers as an eventual method to improve the PQ in electrical distribution systems. The aim of a UPQC is to eliminate the disturbances that affect the performance of the critical load in power systems.

The proposed UPQC system can improve the power quality at the point of common coupling on power distribution systems under unbalanced and distorted load conditions. An addition of fault protection circuit at the series transformer. The simulation results based on MATLAB/SIMULINK are discussed in detail to support the SRF-based control method presented in this paper. The proposed SRF-based control algorithm for the UPQC is evaluated, under unbalanced and distorted load-current and source voltage conditions since the unbalanced load currents are very common and, yet, an important problem in 3P4W distribution systems. The proposed approach is also validated through experimental study with the UPQC hardware prototype.