WIND ENERGY CONVERSION SYSTEM USING CASCADED H-BRIDGE MULTI LEVEL INVERTER

ABSTRACT

In this paper cascaded H-bridge multilevel inverter operation is explained. Here maximum power is extracted from a wind energy conversion system using permanent magnet synchronous generator along with cascaded H bridge multi-level inverter. The copper losses in the rotor are eliminated and higher efficiency is obtained by using permanent magnet synchronous generator.

To overcome the limitations linked to maximum voltage a blocking capability of existing power semiconductor devices, several new techniques and topologies have been developed, such as diode-clamped inverter, Flying capacitor inverter, and cascaded H-bridge inverter . A number of modulation techniques are used in multilevel inverters.

This paper focuses on space vector PWM techniques which have been extended for use in cascaded H-bridge multi-level inverter topologies. By using SVPWM method for cascaded H bridge multi-level inverter.

A five level cascaded H-bridge multilevel inverter circuit along with PMSG based WECS is simulated using MATLAB. Modeling and simulation results of a PMSG based variable speed wind energy system is analyzed in this paper.