LOAD COMPENSATION USING DSTATCOM FOR DIESEL GENERATOR BASED ISOLATED GENERATION SYSTEM

ABSTRACT

This paper deals harmonics, reactive power and unbalanced load current compensation of a Diesel Generator set for an isolated system using the control of Distribution Static Synchronous Compensator (DSTATCOM). Least Mean Square (LMS) based Adaptive Linear Element (ADALINE) method is used for the control of DSTATCOM.

For controlling DSTATCOM, there are number of controllers reported in the literature survey for extracting the reference current such as Linear Matrix Inequalities (LMI) based controller, modified power balance theory, synchronous reference frame theory, instantaneous reactive power p-q theory and modified instantaneous symmetrical component theory. All the above mentioned controllers are complex in calculation and have slow response. In this paper, a fast and simple neural network-based control scheme is used to estimate reference source currents for the control of the DSTATCOM. This paper presents a DSTATCOM for the load compensation of a diesel generator set to increase its performance.

The control of DSTATCOM with capabilities of reactive power, harmonics and unbalanced load compensation is achieved by Least Mean Square (LMS) algorithm based adaptive linear element (Adaline). The Adaline is generally used to extract positive-sequence fundamental frequency real component of the load current. The dc-bus voltage of voltage source converter (VSC) is supported by a proportional–integral (PI) controller which computes current component to compensate losses in DSTATCOM. The modeling of the DG set is performed using a synchronous generator, a speed governor, and the excitation control system.

This proposed system is simulated by MATLAB/Simulink. The results for a DG set with the linear load and a nonlinear load with different load dynamics and unbalance load conditions are presented to demonstrate the effectiveness of DSTATCOM-DG set system.