THREE-PHASE DUAL-BUCK INVERTER WITH UNIFIED

PULSEWIDTH MODULATION

ABSTRACT

The standard half-bridge or full-bridge inverter is a typical voltage source inverter (VSI) with two active switches in one phase leg. It needs dead time to prevent shoot through problems between the switches in one leg. Because of dead time effect, the output waveforms can be distorted and the equivalent transferred energy of pulse-width modulation (PWM) is reduced. Even with added dead time, shoot-through is still the dominant failure of the circuit, especially at some fault conditions. In addition, with higher dc bus voltage operation, this standard inverter cannot simply employ power MOSFETs as the active switches due to the reverse recovery problem of the body diode of MOSFETs

This paper presents a new type of three-phase voltage source inverter (VSI), called three-phase dual-buck inverter. The proposed inverter does not need dead time, and thus avoids the shoot-through problems of traditional VSIs, and leads to greatly enhanced system reliability. Though it is still a hard-switching inverter, the topology allows the use of power MOSFETs as the active devices instead of IGBTs typically employed by traditional hard switching VSIs. As a result, the inverter has the benefit of lower switching loss, and it can be designed at higher switching frequency to reduce current ripple and the size of passive components.

A unified pulse width modulation (PWM) is introduced to reduce computational burden in real-time implementation. Different PWM methods were applied to a three-phase dual-buck inverter, including sinusoidal PWM (SPWM), space vector PWM (SVPWM) and discontinuous space vector PWM (DSVPWM). A 2.5kW prototype of a three-phase dual-buck inverter and its control system has been designed and tested under different dc bus voltage and modulation index conditions to verify the feasibility of the circuit, the effectiveness of the controller, and to compare the features of different PWMs. Efficiency measurement of different PWMs has been conducted, and the inverter sees peak efficiency of 98.8% with DSVPWM.