CONSTANT FREQUENCY-UNIFIED POWER QUALITY CONDITIONER

ABSTRACT

The aim of this project is to maintain the constant frequency in the utility using constant frequency unified power quality conditioning system (CF-UPQC) consists of a unified power quality conditioner (UPQC) and a Matrix converter based frequency changer.

UPQC is a combination of series active and shunt active filter. The series active filter and shunt active filters are used to compensate the voltage, current imbalance and harmonics.  In order to avoid the switching oscillation, passive filters are placed at the output of each inverter. At the output of shunt inverter a high pass second order LC filter is placed and the output of series inverter low pass second order LC resonance filter is allocated. UPQC controller provides the compensated voltage through the UPQC series inverter and conditioning the current through the shunt inverter by instantaneous sampling of source voltage and load current.

Frequency converter (Matrix converter) is used to regulate the supply frequency when it varies beyond the power quality limit. The performance of the CF -UPQC which is composed by UPQC and matrix converter has been verified based on the simulation results.