DYNAMIC Modeling and Performance Analysis of a Grid-Connected Current-Source Inverter-Based Photovoltaic System

Abstract

Voltage-source inverter (VSI) topology is widely used for grid interfacing of distributed generation (DG) systems. However, when employed as the power conditioning unit in photovoltaic (PV) systems, VSI normally requires another power electronic converter stage to step up the voltage, thus adding to the cost and complexity of the system. To make the proliferation of grid-connected PV systems a successful business option, the cost, performance, and life expectancy of the power electronic interface need to be improved.

The current-source inverter (CSI) offers advantages over VSI in terms of inherent boosting and short-circuit protection capabilities, direct output current controllability, and ac-side simpler filter structure. Research on CSI-based DG is still in its infancy. This project focuses on modeling, control, and steady-state and transient performances of a PV system based on CSI. It also performs a comparative performance evaluation of VSI-based and CSI-based PV systems under transient and fault conditions.

The control structure consists of two current control loops. An MPPT provides the reference for the outer dc-side current control loop. The inner current control loop is designed to control the current that is injected into the grid. Using two case studies, i.e., a step change in insulations level and a grid-side fault, a comparative performance evaluation of CSI- and VSI based PV systems was performed.

Analytical expectations are verified using simulations in the MATLAB/SIMULINK environment, based on a detailed system model.