FAULT Ride-Through of a DFIG Wind Turbine Using a Dynamic Voltage Restorer During Symmetrical and Asymmetrical Grid Faults

Abstract

The application of a dynamic voltage restorer (DVR) connected to a wind-turbine-driven doubly fed induction generator (DFIG) is investigated. The setup allows the wind turbine system an uninterruptible fault ride-through of voltage dips. The DVR can compensate the faulty line voltage, while the DFIG wind turbine can continue its nominal operation as demanded in actual grid codes.

In this project, the application of a DVR that is connected to a wind-turbine-driven DFIG to allow uninterruptible fault ride through of voltage dips fulfilling the grid code requirements is investigated. The DVR can compensate the faulty line voltage, while the DFIG wind turbine can continue its nominal operation as demanded in actual grid codes.

The DVR can compensate the faulty line voltage, while the DFIG wind turbine can continue its nominal operation and fulfill any grid code requirement without the need for additional protection methods. The DVR can be used to protect already installed wind turbines that do not provide sufficient fault ride-through behavior or to protect any distributed load in a micro grid.

Simulation results for a 2 MW wind turbine and measurement results on a 22 kW laboratory setup are presented, especially for asymmetrical grid faults. They show the effectiveness of the DVR in comparison to the low-voltage ride-through of the DFIG using a crowbar that does not allow continuous reactive power production. The effectiveness of the scheme is evaluated using the MATLAB simulation program.