INSTANTANEOUS ACTIVE AND REACTIVE POWER AND CURRENT STRATEGIES FOR CURRENT HARMONICS CANCELLATION IN 3-PH 4-WIRE SHAF WITH BOTH PI AND FUZZY CONTROLLERS

ABSTRACT

Control strategies for extracting the three-phase reference currents for shunt active power filters are compared, evaluating their performance under different source conditions with PI and Fuzzy Controllers in MATLAB/Simulink environment when the supply voltages are balanced and sinusoidal, the two control strategies are converge to the same compensation characteristics; However, the supply voltages are distorted and/or un-balanced sinusoidal, these control strategies result in different degrees of compensation in harmonics.

The PI controller requires precise linear mathematical models, which are difficult to obtain and may not give satisfactory performance under parameter variations, load disturbances, etc. Recently, fuzzy logic controllers have received a great deal of interests in APF. The advantages of fuzzy controllers over conventional controllers are that they do not need an accurate mathematical model, can work with imprecise inputs, can handle non-linearity, and are more robust than conventional controllers.

The compensation capabilities are not equivalent, with p-q control strategy unable to yield an adequate solution when source voltages are not ideal. Extensive simulations are carried out with PI controller and also with Fuzzy controller for both p-q and id-iq control strategies under different main voltages. Extensive Simulations are carried out with PI as well as fuzzy controller for both p-q and id-iq control strategies by considering different voltage conditions and adequate results were presented. On owing id-iq method with fuzzy logic controller gives away an out-standing performance under any voltage conditions (balanced, un-balanced, balanced and non-sinusoidal).