ENHANCEMENT OF POWER QUALITY IN DISTRIBUTION SYSTEM USING D-STATCOM
ABSTRACT
This paper presents the enhancement of voltage sags, harmonic distortion and low power factor using Distribution Static Compensator (D-STATCOM) with LCL Passive Filter in distribution system. The model is based on the Voltage Source Converter (VSC) principle. The D-STATCOM injects a current into the system to mitigate the voltage sags.LCL Passive Filter was then added to D-STATCOM to improve harmonic distortion and low power factor. The simulations were performed using MATLAB SIMULINK version R2007b. A new PWM-based control scheme has been implemented to control the electronic valves in the DSTATCOM. The D-STATCOM has an additional capability to sustain reactive current at low voltage, and can be developed as a voltage and frequency support by replacing capacitors. Voltage sag is a short time  event during which a reduction in r.m.s voltage magnitude occurs. Voltage sags are improved with insertion of D-STATCOM. When the value of fault resistance is increased, the voltage sags will also increase for different types of fault. 
Suitable adjustment of the phase and magnitude of the DSTATCOM output voltages allows effective control of active and reactive power exchanges between D-STATCOM and AC system. The PI controller will process the error signal to zero. The load r.m.s voltage is brought back to the reference voltage by comparing the reference voltage with the r.m.s voltages that had been measured at the load point. It also is used to control the flow of reactive power from the DC capacitor storage circuit. The PWM generator can produce the desired synchronizing signal that is required. PWM generator also receives the error signal angle from PI controller. 
The modulated signal is compared against a triangle signal in order to generate the switching signals for VSC valves. To enhance the performance of distribution system, DSTATCOM was connected to the distribution system. DSTATCOM was designed using MATLAB simulink version R2007b.
