A NEW 84-PULSE VSC CONFIGURATION USING MULTI-

LEVEL DC VOLTAGE REINJECTION FOR ESPECIAL

APPLICATIONS
ABSTRACT
The Static Synchronous Compensator (StatCom) is one of the most useful FACTS devices, since it can synthesize the reactive power from small storing elements. When it is operated within the linear region, it is seen by the system as a synchronous voltage source. By regulation of the StatCom’s output voltage magnitude, the reactive power exchange between the device and the transmission system may be controlled to improve the power system voltage profile.

Since the StatCom may cause interference on the system’s fundamental sine wave at frequencies that are multiples of the fundamental one, especial care should be taken to ensure not to pollute the system to prevent further harmonic issues. In general, there are three feasible strategies to assemble a VSC: (i) the multi-pulse; (ii) the multi-level; (iii) and the pulse width modulation. Strong efforts have been made in order to reach minimum harmonic distortion in the VSC’s output voltage. 
This paper analyzes the structure of an 84-pulse voltage source converter (VSC), assembled by combining one twelve-pulse VSC, in conjunction with an asymmetric single phase seven-level converter plus an injection transformer. The extra components are: 8 switches, 4 DC voltage sources, and 4 diodes for the seven-level converter. A reinjection transformer is needed, which is able to work properly within a wide range of its turn ratio. This constitutes an attractive array in terms of costs. With this arrangement, the VSC output's total harmonic distortion in voltages is reduced, allowing it to be used in especial applications or as the basement of flexible A.C. transmission systems (FACTS) devices. The proposed strategy allows savings in the number of employed switches. 
