



WIND FARM TO WEAK-GRID CONNECTION

USING UPQC CUSTOM POWER DEVICE

ABSTRACT

The location of generation facilities for wind energy is determined by wind energy resource availability, often far from high voltage (HV) power transmission grids and major consumption centers. Wind Farms (WF) employing squirrel cage induction generator (SCIG) directly connected to the grid; represent a large percentage of the wind energy conversion systems around the world. In facilities with moderated power generation, the wind farms are connected through medium voltage (MV) distribution headlines. A situation commonly found in such scheme is that the power generated is comparable to the transport capacity of the grid. This case is known as Wind Farm to Weak Grid Connection, and its main problem is the poor voltage regulation at the point of common coupling (PCC). Thus, the combination of weak grids, wind power fluctuation and system load changes produce disturbances in the PCC voltage, worsening the Power Quality and WF stability. This situation can be improved using control methods at generator level, or compensation techniques at PCC. In case of wind farms based on SCIG directly connected to the grid, is necessary to employ the last alternative. Custom power devices technology (CUPS) result very useful for this kind of application. 

In recent years, the technological development of high power electronics devices has led to implementation of electronic equipment suited for electric power systems, with fast response compared to the line frequency. These active compensators allow great flexibility in: a) controlling the power flow in transmission systems using Flexible AC Transmission System (FACTS) devices, and b) enhancing the power quality in distribution systems employing Custom Power System (CUPS) devices ,The use of these active compensators to improve integration of wind energy in weak grids is the approach adopted in this work.

In this paper a compensation strategy based on a particular CUPS device, the Unified Power Quality Compensator (UPQC) has been proposed. A customized internal control scheme of the UPQC device was developed to regulate the voltage in the WF terminals, and to mitigate voltage fluctuations at grid side. The voltage regulation at WF terminal is conducted using the UPQC series converter, by voltage injection “in phase” with PCC voltage. On the other hand, the shunt converter is used to filter the WF generated power to prevent voltage fluctuations, requiring active and reactive power handling capability. The sharing of active power between converters, is managed through the common DC link. Therefore the internal control strategy is based on the management of active and reactive power in the series and shunt converters of the UPQC, and the exchange of power between converters through UPQC DC–Link. This approach increases the compensation capability of the UPQC with respect to other custom strategies that use reactive power only. The proposed compensation scheme enhances the system power quality, exploiting fully DC–bus energy storage and active power sharing between UPQC converters, features not present in DVR and D–Statcom compensators. Simulations results show the effectiveness of the proposed compensation strategy for the enhancement of Power Quality and Wind Farm stability.
Head office: 2nd floor, Solitaire plaza, beside Image Hospital, Ameerpet, Hyderabad www.kresttechnology.com, E-Mail : krestinfo@gmail.com  , Ph: 9885112363 / 040 44433434

2

