



CONSTANT POWER CONTROL AND FAULT-RIDE- THROUGH ENHANCEMENT OF DFIG WIND TURBINES WITH ENERGY STORAGE
ABSTRACT
Wind turbine generators (WTGs) are usually controlled to generate maximum electrical power from wind under normal wind conditions. With the increasing penetration of wind power into electric power grids, energy storage devices will be required to dynamically match the intermittency of wind energy. To meet the requirements of frequency and active power regulation, energy storage devices will be required to dynamically match the intermittency of wind energy.
A novel two-layer constant-power control scheme for a wind farm equipped with doubly-fed induction generator (DFIG) wind turbines. It is connected to the power grid at both stator and rotor terminals. The stator is directly connected to the grid while the rotor is fed through a variable-frequency dc-link-voltage converter, which consists of a rotor-side converter (RSC) and a grid-side .converter .Each DFIG wind turbine is equipped with a super capacitor energy storage system (ESS) and is controlled by the low-layer WTG controllers and coordinated by a high-layer wind-farm supervisory controller (WFSC). The ESS serves as either a source or a sink of active power, and therefore, contributes to control the generated active power of the WTG Control of the DFIG is achieved by controlling the RSC, the GSC, and the ESS.

 
A high-layer WFSC has been developed to coordinate the actions of the low-layer individual WTG controllers The WFSC generates the active-power references for the low-layer WTG controllers according to the active-power demand from the grid operator; the low-layer WTG controllers then regulate each DFIG wind turbine to generate the desired amount of active power, where the deviations between the available wind energy input and desired active power output are compensated by the ESS. The proposed system and control scheme provides a promising solution to help achieve high levels of penetration of wind power into electric power grids.
Head office: 2nd floor, Solitaire plaza, beside Image Hospital, Ameerpet, Hyderabad www.kresttechnology.com, E-Mail : krestinfo@gmail.com  , Ph: 9885112363 / 040 44433434

1

