



DYNAMIC MODELING AND SIMULATION OF HYBRID POWER SYSTEMS BASED ON RENEWABLE ENERGY

ABSTRACT

In this paper, a detailed dynamic model and simulation of a solar cell/wind turbine/fuel cell hybrid power system is Developed using a novel topology to complement each other and to alleviate the effects of environmental variations. Comparing with the nuclear energy and thermal power, the renewable energy is inexhaustible and has non-pollution Characteristics. The solar energy, wind power, hydraulic power and tide energy are natural resources of the interest to generate electrical sources. As the wind turbine output power varies with the wind speed and the solar cell output power varies with both the ambient temperature and radiation, a FC system with an UC bank can be integrated to ensure that the system performs under all conditions. Excess wind and solar energies when available are converted to hydrogen using electrolysis for later use in the fuel cell.

 In this paper Dynamic modeling of various components of this isolated system is presented. Transient responses of the system to step changes in the load, ambient temperature, radiation, and wind speed in a number of possible situations are studied. The recent commercial availability of small PEMFC units has created many new opportunities to design hybrid energy systems for remote applications with energy storage in hydrogen form. Here Ultra-capacitors are used in power applications requiring short duration peak power. The voltage variation at the output is found to be within the acceptable range. The output fluctuations of the wind turbine varying with wind speed and the solar cell varying with both environmental temperature and sun radiation are reduced using a fuel cell. 

Therefore, this system can tolerate the rapid changes in load and environmental conditions, and suppress the effects of these fluctuations on the equipment side voltage. The proposed system can be used for off-grid power generation in non interconnected areas or remote isolated communities. 

Modeling and simulations are conducted using MATLAB/Simulink software packages to verify the effectiveness of the proposed system. The results show that the proposed hybrid power system can tolerate the rapid changes in natural conditions and suppress the effects of these fluctuations on the voltage within the acceptable range.

Head office: 2nd floor, Solitaire plaza, beside Image Hospital, Ameerpet, Hyderabad www.kresttechnology.com, E-Mail : krestinfo@gmail.com  , Ph: 9885112363 / 040 44433434

1

